## BOQ
PREVIEW — NOT FOR TENDER
Laboratory layout — sample (teaching lab)
2026-07-25
Item code | Description | Type | W (mm) | D (mm) | H (mm) | Worktop | Services | Qty | Unit | Worktop (lin. m) | Unit rate (USD) | Amount (USD)
BL-1500x750-H900-EP | Laboratory bench, linear · 1500 × 750 mm · Epoxy resin | bench-linear | 1500 | 750 | 900 | Epoxy resin |  | 4 | No. | 6
SK-1200x750-H900-EP | Sink cabinet with tap · 1200 × 750 mm · Epoxy resin · services: water, drainage | sink-cabinet | 1200 | 750 | 900 | Epoxy resin | water, drainage | 1 | No. | 1.2
WU-1200x750-H750-EP | Write-up desk with stool · 1200 × 750 mm · Epoxy resin | writeup-seating | 1200 | 750 | 750 | Epoxy resin |  | 2 | No. | 2.4
FC-1500x900-EP | Fume cupboard · 1500 × 900 mm · Epoxy resin · services: extract | fume-cupboard | 1500 | 900 |  | Epoxy resin | extract | 1 | No. | 1.5
BSC-1200x750-EP | Microbiological safety cabinet · 1200 × 750 mm · services: electric | microbio-safety-cabinet | 1200 | 750 |  |  | electric | 1 | No.
TC-1000x600-H2000-EP | Tall storage cabinet · 1000 × 600 mm | tall-cabinet | 1000 | 600 | 2000 |  |  | 1 | No.
OC-1000x350-H700-EP | Wall-mounted overhead cabinet · 1000 × 350 mm | overhead-cabinet | 1000 | 350 | 700 |  |  | 2 | No.
SE-900x900-EP | Combined emergency shower + eyewash · 900 × 900 mm · services: water, drainage | combo-shower-eyewash | 900 | 900 |  |  | water, drainage | 1 | No.
INST-01 | Installation and commissioning (to be priced) | [6 empty] | 1 | Sum
Total
Worktop summary (measurement only — not added to the total above)
| Epoxy resin |  |  |  |  | Epoxy resin |  |  | m | 11.1
All dimensions in millimetres; worktop lengths in linear metres. Rates and amounts are for the estimator to complete.
Passes the configured EN pre-checks — 15 of 18 rules had something to measure, ruleset v0.17.2
Design-intent only. A qualified professional must validate against local building, fire, and civil-defence codes before procurement or construction.